Client name: __________________________________________________________________________________________

Inspected property address: ________________________________________________________________________

Date and time of the inspection: _____________________________________________________________________

Weather conditions: __________________________________________________________________________________

Approximate outdoor air temperature: _____________________________________________________________

People present at the time of the inspection: _______________________________________________________

Estimated year built: __________________________________________________________________________________

Type of structure inspected: __________________________________________________________________________

Company name: _____________________________________________________________________________________

Inspector name: _____________________________________________________________________________________

Company phone: ____________________________________________________________________________________

Company email: ______________________________________________________________________________________

Company address: ___________________________________________________________________________________

This checklist is based upon the International Standards of Practice for Performing a General Home Inspection, which is located at www.nachi.org/sop.

This checklist may be used to perform a visual inspection of a home and provide the inspector with a written report identifying the defects that were (1) observed and (2) deemed material.

The purpose of clarity, the following terms may be used by the inspector:

A material defect is a specific issue with a system or component of a residential property that may have a significant, adverse impact on the value of the property, or that poses an unreasonable risk to people.

A major defect is a condition of a system or component that renders it non-working, non-performing, non-functioning or unsafe, and requires a professional contractor to further evaluate and repair, correct or replace.

A minor defect is a condition of a system or component that renders it non-working, non-performing, or non-functioning, and may be repaired, corrected or replaced by a professional contractor or the homeowner.

A cosmetic defect is a superficial flaw or blemish in the appearance of a system or component that does not interfere with its safety or functionality.

ROOF

INSPECT:

_____ I inspected the roof-covering materials:

_____  from the ground level

_____  from the eaves

_____  from a ladder

_____  from the roof surface

_____  from a window

_____  using binoculars

_____  using a camera extension pole

______________________________________________________________________________________________

_____ The roof-covering materials were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the gutters:

_____  from the ground level

_____  from the eaves

_____  from a ladder

_____  from the roof surface

______________________________________________________________________________________________

_____ The gutters were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected from ground level or the eaves the downspouts.

_____ The downspouts were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the vents, flashing, skylights, chimney, and other roof penetrations:

_____  from the ground level

_____  from the eaves

_____  from a ladder

_____  from the roof surface

_____  from a window

_____  using binoculars

_____  using a camera extension pole

______________________________________________________________________________________________

_____ The vents, flashing, skylights, chimney, and other roof penetrations were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected from ground level or the eaves the general structure of the roof:

_____  from readily accessible areas

_____  from readily accessible panels

_____  from readily accessible doors

_____  from readily accessible stairs

______________________________________________________________________________________________

_____ The general structure of the roof from the readily accessible panels, doors or stairs was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The type of roof-covering materials I observed can be described as:

_____  asphalt shingle

_____  wood shingle or shake

_____  concrete or clay tile

_____  metal

_____  slate

_____  other

______________________________________________________________________________________________

REPORT:

_____  I observed indications of an active roof leak. Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
EXTERIOR

INSPECT:

_____  I inspected the exterior wall-covering materials, flashing and trim.

_____ The exterior wall-covering materials, flashing and trim were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected all exterior doors.

_____  All exterior doors were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the adjacent walkways and driveways.

_____ The adjacent walkways and driveways were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the stairs, steps, stoops, stairways and ramps.

_____ The stairs, steps, stoops, stairways and ramps were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the porches, patios, decks, balconies and carports.

_____ The porches, patios, decks, balconies and carports were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the railings, guards and handrails.

_____ The railings, guards and handrails were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the eaves, soffits and fascia.

_____ The eaves, soffits and fascia were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected a representative number of windows.

_____  A representative number of windows were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the vegetation, surface drainage, retaining walls and grading of the property, where they may adversely affect the structure due to moisture intrusion.

_____ The vegetation, surface drainage, retaining walls and grading of the property, where they may adversely affect the structure due to moisture intrusion, were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The type of exterior wall-covering materials can be described as:

_____  vinyl

_____  stucco

_____  aluminum siding

_____  cement-fiber panels or siding

_____  exterior insulation finish systems (EIFS)

_____  wood panels or siding

_____  masonry, brick and stone

_____  other

______________________________________________________________________________________________

REPORT:

_____  I observed indications of improper spacing between intermediate balusters, spindles and rails. Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
BASEMENT, FOUNDATION, CRAWLSPACE & STRUCTURE

INSPECT:

_____  I inspected the foundation.

_____ The foundation was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the basement.

_____ The basement was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the crawlspace.

_____ The crawlspace was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the structural components.

_____ The structural components were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The type of foundation can be described as:

_____  basement

_____  crawlspace

_____  slab-on-grade

_____  concrete block

_____  poured concrete

_____  other

______________________________________________________________________________________________

The location of the access to the under-floor space is ______________________________________________________________________________________________________________.

REPORT:

_____  I observed indications of wood in contact with or near soil. Correction is needed.

_____  I observed indications of active water penetration. Correction is needed.

_____  I observed indications of possible foundation movement, such as sheetrock cracks, brick cracks, out-of-square door frames, and unlevel floors. Correction is needed.

_____  I observed indications of cutting, notching and boring of framing members that may, in my opinion, present a structural or safety concern. Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
HEATING

INSPECT:

_____  I inspected the heating system, using normal operating controls.

_____ The heating system was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The location of the thermostat for the heating system is ________________________________________________________________________________________________________.

The energy source of the heating system is:

_____  natural gas

_____  electricity

_____  fuel oil

_____  propane

_____  geothermal

_____  solar

_____  solid wood

_____  pellets

_____  coal

_____  kerosene

______________________________________________________________________________________________

The heating method of the heating system is:

_____  warm-air 
_____  hydronic

_____  steam

_____  electric

_____  other

______________________________________________________________________________________________

REPORT:

_____  A heating system did not operate. Correction is needed.

_____  A heating system was deemed inaccessible. Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

COOLING

INSPECT:

_____  I inspected the cooling system using normal operating controls.

_____ The cooling system was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The location of the thermostat for the cooling system is ________________________________________________________________________________________________________.

The cooling method can be described as:

_____  a central air conditioning system

_____  a split or ductless air conditioning

_____  a packaged air conditioner

_____  a evaporative cooling unit

_____  a window air conditioner

_____  a through-wall unit

_____  a portable unit

_____  other

______________________________________________________________________________________________

REPORT:

_____  A cooling system did not operate.  Correction is needed.

_____  A cooling system was inaccessible.  Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PLUMBING

INSPECT:

_____ I inspected the main water supply shut-off valve.

_____  The main water supply shut-off valve was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the main fuel supply shut-off valve.

_____  The main fuel supply shut-off valve was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the water heating equipment, including the energy source, venting connections, temperature/pressure-relief (TPR) valves, Watts 210 valves, and seismic bracing.

_____  The water heating equipment, including the energy source, venting connections, temperature/pressure-relief (TPR) valves, Watts 210 valves, and seismic bracing, were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the interior water supply, including all fixtures and faucets, by running the water.

_____  The interior water supply, including all fixtures and faucets, were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected all toilets for proper operation by flushing.

_____  The toilets were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected all sinks, tubs and showers for functional drainage.

_____  The sinks, tubs and showers were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the drain, waste and vent system.

_____  The drain, waste and vent system was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the drainage sump pumps with accessible floats.

_____  The drainage sump pumps with accessible floats were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

_____ Based upon observed indications, the water supply is public.

_____ Based upon observed indications, the water supply is private.

The location of the main water supply shut-off valve is ________________________________________________________________________________________________________.

The location of the main fuel supply shut-off valve is _______________________________________________________________________________________________________.

The location of the observed fuel-storage system is _______________________________________________________________________________________________________.

The static water pressure reading was measured at

_______________________________________________________________________________________________________.

The capacity of the water heating equipment was measured at

_______________________________________________________________________________________________________.

REPORT:

_____  I observed indications of deficiencies in the water supply by viewing the functional flow in two fixtures operated simultaneously.  Correction is needed.

_____  I observed indications of deficiencies in the installation of hot and cold water faucets.  Correction is needed.

_____  I observed indications of mechanical drain stops that were missing or did not operate if installed in sinks, lavatories and tubs.  Correction is needed.

_____  I observed indications of toilets that were damaged, had loose connections to the floor, were leaking, or had tank components that did not operate.  Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

ELECTRICAL

INSPECT:

_____  I inspected the service drop.

_____  The service drop was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the overhead service conductors and attachment point.

_____  The overhead service conductors and attachment point were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the service head, gooseneck and drip loops.

_____  The service head, gooseneck and drip loops were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the service mast, service conduit and raceway.

_____  The service mast, service conduit and raceway were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the electric meter and base.

_____  The electric meter and base were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the service-entrance conductors.

_____  The service-entrance conductors were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the main service disconnect.

_____  The main service disconnect was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected panelboards and over-current protection devices (circuit breakers and fuses).

_____  The panelboards and over-current protection devices (circuit breakers and fuses) were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the service grounding and bonding.

_____  The service grounding and bonding were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected a representative number of switches, lighting fixtures and receptacles, including receptacles observed and deemed to be arc-fault circuit interrupter (AFCI)-protected using the AFCI test button, where possible.

_____  The representative number of switches, lighting fixtures and receptacles, including receptacles observed and deemed to be arc-fault circuit interrupter (AFCI)-protected using the AFCI test button, where possible, were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected all ground-fault circuit interrupter receptacles and circuit breakers observed and deemed to be GFCIs using a GFCI tester, where possible.

_____  The ground-fault circuit interrupter receptacles and circuit breakers observed and deemed to be GFCIs using a GFCI tester, where possible, were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected smoke and carbon-monoxide detectors.

_____  The smoke and carbon-monoxide detectors were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The main service disconnect's amperage rating, if labeled, is ________________________________.

The type of wiring observed can be described as:

_____  type NM (nonmetallic sheathed)

_____  type UF (underground feeder)

_____  type AC (armored cable)

_____  aluminum branch circuit

_____  knob and tube

REPORT:

_____  I observed indications of deficiencies in the integrity of the service-entrance conductors’ insulation, drip loop, and vertical clearances from grade and roofs. Correction is needed.

_____  I observed indications of unused circuit-breaker panel opening that was not filled. Correction is needed.

_____  I observed indications of the presence of solid conductor aluminum branch-circuit wiring. Correction is needed.

_____  I observed indications of a tested receptacle in which power was not present, polarity was incorrect, the cover was not in place, the GFCI devices were not properly installed or did not operate properly, indications of arcing or excessive heat, and where the receptacle was not grounded or was not secured to the wall. Correction is needed.

_____  I observed indications of the absence of smoke detectors. Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
FIREPLACE

INSPECT:

_____  I inspected readily accessible and visible portions of the fireplaces and chimneys.

_____  The readily accessible and visible portions of the fireplaces and chimneys were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the lintels above the fireplace openings.

_____  The lintels above the fireplace openings were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the damper doors by opening and closing them, if readily accessible and manually operable.

_____  The damper doors were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the cleanout doors and frames.

_____  The cleanout doors and frames were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The type of fireplace can be described as:

_____  masonry solid fuel-burning

_____  factory-built solid fuel-burning

_____  decorative gas-burning

_____  solid fuel-burning stove

_____  solid fuel-burning fireplace insert

______________________________________________________________________________________________

REPORT:

_____  I observed indications of joint separation, damage or deterioration of the hearth, hearth extension or chambers. Correction is needed.

_____  I observed indications of manually operated dampers that did not open and close. Correction is needed.

_____  I observed indications of the lack of a smoke detector in the same room as the fireplace. Correction is needed.

_____  I observed indications of the lack of a carbon-monoxide detector in the same room as the fireplace. Correction is needed.

_____  I observed indications of cleanouts not made of metal, pre-cast cement, or other non-combustible material. Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

ATTIC, INSULATION & VENTILATION

INSPECT:

_____  I inspected the insulation in unfinished spaces from:

_____  readily accessible areas

_____  readily accessible panels

_____  readily accessible doors

_____  readily accessible stairs

______________________________________________________________________________________________

_____  The insulation in unfinished spaces was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the ventilation of unfinished spaces, including attics, crawlspaces and foundation areas.

_____  The ventilation of unfinished spaces was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected the mechanical exhaust systems in the kitchen, bathrooms and laundry area.

_____  The mechanical exhaust systems in the kitchen, bathrooms and laundry area were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

The type of insulation observed can be described as:

_____  fiberglass blanket

_____  blown-in fiberglass

_____  loose-fill fiberglass

_____  mineral rock or slag wool

_____  blown-in cellulose

_____  loose-fill cellulose

_____  spray-foamed or foamed-in-place

_____  structural insulated panel

_____  concrete block insulation

_____  foam board or rigid foam

_____  insulated concrete forms

_____  natural fibers

_____  others

______________________________________________________________________________________________

The approximate average depth of insulation observed at the unfinished attic floor area or roof structure:

______________________________________________________________________________________________

The approximate average thickness of vertical insulation observed from the unfinished attic area:

______________________________________________________________________________________________

REPORT:

_____  I observed indications of the general absence of insulation or ventilation in unfinished spaces.  Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

DOORS, WINDOWS & INTERIOR

INSPECT:

_____  I inspected a representative number of doors and windows by opening and closing them.

_____  A representative number of doors and windows were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected floors, walls and ceilings.

_____  The floors, walls and ceilings were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected stairs, steps, landings, stairways and ramps.

_____  The stairs, steps, landings, stairways and ramps were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected railings, guards and handrails.

_____  The railings, guards and handrails were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

_____  I inspected garage vehicle doors and the operation of garage vehicle door openers, using normal operating controls.

_____  The garage vehicle doors and the operation of garage vehicle door openers were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DESCRIBE:

_____  The garage vehicle door is manually-operated.

_____  The garage vehicle door is installed with a garage door opener.

REPORT:

_____  I observed indications of improper spacing between intermediate balusters, spindles and rails for steps, stairways, guards and railings.  Correction is needed.

_____  I observed indications of photo-electric safety sensors that did not operate properly.  Correction is needed.

_____  I observed indications of a window that was obviously fogged or displayed other indications of broken seals.  Correction is needed.

_____  I observed indications of a material defect.

_____  I observed indications of a major defect.

_____  I observed indications of a minor defect.

_____  I observed indications of a cosmetic defect.

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

OPTIONAL SYSTEMS & COMPONENTS

DISHWASHER

_____  I inspected the dishwasher by using normal operating controls to demonstrate one primary function.

_____  The dishwasher was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

FOOD WASTE DISPOSER

_____  I inspected the food waste disposer by using normal operating controls to demonstrate one primary function.

_____  The food waste disposer was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

RANGES, COOK TOPS AND OVENS

_____  I inspected the range, cook top and oven by using normal operating controls to demonstrate one primary function.

_____  The range, cook top and oven were not inspected, because they were:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

MICROWAVE OVEN

_____  I inspected the microwave oven by using normal operating controls to demonstrate one primary function.

_____  The microwave oven was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

TRASH COMPACTOR

_____  I inspected the trash compactor by using normal operating controls to demonstrate one primary function.

_____  The trash compactor was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

DOOR BELL

_____  I inspected the door bell by using normal operating controls to demonstrate one primary function.

_____  The door bell was not inspected, because it was:

_____  inaccessible

_____  unsafe

_____  not present

_____  not within the scope of the inspection

______________________________________________________________________________________________

LAWN AND GARDEN SPRINKLER SYSTEMS

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

SWIMMING POOLS, SPAS, HOT TUBS AND EQUIPMENT

Type of construction:

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

OUTBUILDINGS

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

OUTDOOR COOKING EQUIPMENT

The energy source of the outdoor cooking equipment:

_______________________________________________________________________________________________________________

GAS SUPPLY SYSTEMS

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PRIVATE WATER WELLS

The type of pump:

_______________________________________________________________________________________________________________

The type of storage equipment:

_______________________________________________________________________________________________________________

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PRIVATE SEWAGE DISPOSAL (SEPTIC) SYSTEMS

The type of system:

_______________________________________________________________________________________________________________

The location of the drainage field:

_______________________________________________________________________________________________________________

WHOLE-HOUSE VACUUM SYSTEMS

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

OTHER BUILT-IN APPLIANCES

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

SECURITY SYSTEMS

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________